## Slide 1: EPICS V3 / V4 – Into EPICS 7
Bob Dalesio
Sept 18, ,2016

## Slide 2: Outline
Experimental Physics and Industrial Control System (EPICS) V3
pvAccess, Ntypes, Extends V3
EPICS 4 Architecture for Machine Control
EPICS 4 Architecture for Beam Line Control and DAQ
Making EPICS 7 Ready for General Use
Steering Council
Conclusions

## Slide 3: EPICS V3 Supports Instrumentation
Distributed Front-Ends
MMLT, SDDS, XAL, SAD, CDEV, SPEC, GDA, etc…
Physical Device
Ethernet
EDM/MEDM/ DM2K/EDM/QT/IDL/ CSS
CAC
CAC
Other GUI tools
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
C, C++, java, Matlab, SDDS, Python
CAC
Channel Archiver
CAC

## Slide 4: EPICS 4 Extends V3 what’s in a name?
EPICS is an open-source Supervisory Control and Data Acquisition Control System
  It is in use on all seven continents in accelerators, experiment control, astronomy, and industry.
  Start of development 1985, originally released as EPICS in 1991.
  Most recent developments enable this technology to be used for more complex data for data collection, management, and analysis (Started in 2007)
pvAccess supports access to real time data as well as relational and non-SQL databases with Get, Put, Monitor, Put/Get, RPC (i.e. command/response)
pvAccess supports existing DBR types and more complex data required for modern science facilities: N-dimensional arrays, tables, heterogenius array and directories in Normative Types.
These new capabilities support middle layer services and structured data.

## Slide 5: EPICS 4 Enables Middle Layer Services and appropriate vector support in the IOC
Distributed Front-Ends
?Refactor? XAL, MMLT, SDDS, GDA
Physical Device
Ethernet
Thin HLA Client
CAC
CAC
Control System Studio
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Data Browser Viewer
PVManager
PVAS
Channel Finder Server
NoSQL
Mongo
DB
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Unit Conversion
CAC
PVAC
PVAS
Orbit
CAC
PVAS
Alignment, Magnet Map..
SQL
IRMIS
PVAC
Multichannel Array
PVAS
PVAC
PVAS
Archive Retrieval
XML/RPC
Archive Appliance
PVAC

## Slide 6: Services Support Data Acquisition
1) Request Parallel lanes for user FPGA
Spec, GDA, Edna etc…
Detector
Ethernet
Thin HLA Client
CAC
CAC
Control System Studio
CAC
Data Acq.
CAS
Channel Archiver View
PVManager
PVAS
Channel Finder Server
NoSQL
RDB
PVAC
PVAS
PVAS
Virtual Axis Conversion
CAC
PVAC
PVAS
Analysis
CAC
PVAS
Experiment MetaData.
NoSQL
MDS
PVAC
PVAS
Archive Retrieval
XML/RPC
Archive Appliance
PVAC
N-lanes
Detector
Storage
User FPGA
Data Analysis.
CAS
PVAS
2) User FPGA Converts to NType
3) Analysis In IOC creates results as NType
4) Analysis In middle layer service creates results as NType
5) Connect V4 client to existing codes
PVAS
FileStore.
NFS
Exp Data

## Slide 7: EPICS 7 Ready in September 2017 Release
Demonstrate Scalars, Vectors and NDArrays from V3 IOC over pvAccess using NTypes reliably in a DCS.
Demonstrate python, Java, C++, display, archive and alarm clients connection to V3 IOC using pvAccess and NTypes.
Demonstrate services other than IOC: Channel Finder, Archive, Save/Retrieve (MASAR), Alarm, Gateway, Data Set Index (metadata Service).
With coordination and support, this could be complete, tested and ready for release in 12 months.

## Slide 8: Council to Support EPICS Developers
A meeting was held to explore ways to support the EPICS developers.
A council is formed of those that provide the resources (money and manpower), to support the developers.
A commitment of resources (1 FTE at a minimum) is required for a seat on the council.
Membership is open to all facilities in our community that are able to commit resources
The Council will champion our work in their institutions by explaining how stated goals from an open source community, provide the foundation of their facility.

## Slide 9: Conclusions
  NTypes and pvAccess enhance V3 to Provide that Support in EPICS 7 (0100 xor 0011)
  pvAccess and NTypes are in use now at EPICS sites as a supplement to Channel Access (data transport for DAQ systems and service layer developments).
  EPICS V4 is working at developer sites including: NSLS II, FRIB, FHI, LCLSII, and SNS.
  Sept 2017 EPICS 7 release will run with pvAccess as the primary protocol and standard middle layer services.