## Slide 1: Detector rate estimate for the BIFROST instrument at ESS
Milán Klausz1,2,3 Kalliopi Kanaki2, Thomas Kittelmann2, Rasmus Toft-Petersen2,4, Péter Zagyvai1,3, Jonas Okkels Birk, Martin Olsen4, Richard Hall-Wilton2,5
Milan.Klausz@esss.se
HAS Centre for Energy Research
European Spallation Source ESS ERIC
BUTE Institute of Nuclear Techniques
Technical University of Denmark
Università degli Studi di Milano-Bicocca
ICANS XXIII Chattanooga, 17 October 2019

## Slide 2: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 3: ESS - Instruments
+
Nuclear Physics Institute
+
ODIN
DREAM
NMX
MIRACLES
BEER
C-SPEC
T-REX
MAGIC
BIFROST
HEIMDAL
FREIA
LoKI
SKADI
VESPA
ESTIA
+

## Slide 4: Location of BIFROST
BIFROST

## Slide 5: Bifrost instrument
High flux indirect geometry cold spectrometer
Small sample (1 mm3) in extreme environment
Relatively simple beam transport and conditioning system
Option to use full ESS pulse in low resolution mode

## Slide 6: Scattering Characterization System

## Slide 7: Scattering Characterization System
1010 n/s/cm2 flux on sample
Detect weak inelastic signal
Survive intense Bragg peak
Important to define the incident detector rate

## Slide 8: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 9
Sample + analyzers
Guide
Detectors
Simulation Tools - Options

## Slide 10
Sample + analyzers
Guide
Detectors
Simulation Tools - Options

## Slide 11
  Simulation of neutron scattering instruments and experiments
  Monte Carlo ray-trace algorithm
  Cross-platform, open source
  Version 2.5 (December, 2018)
  Collaboration:
    DTU Physics
    University of Copenhagen
    Paul Scherrer Institute
    Institut Laue-Langevin
Source: http://mcstas.org/
Simulation Tools - McStas

## Slide 12
Sample + analyzers
Guide
Detectors
Simulation Tools - Options

## Slide 13
  General purpose
  Developed in CERN
  Application in various fields
  Detector Group Framework
    Code repository + build system
    Tools, issue tracker, wiki
    Geant4, C++, Python
Source: http://geant4.cern.ch/
T. Kittelmann, et al., Geant4 based simulations for novel neutron detector development, J. Phys. Conf. Ser. 513 (2014) 022017
Simulation Tools: Geant4 + DG Framework

## Slide 14
Sample + analyzers
Guide
Detectors
Simulation Tools - Options

## Slide 15
Sample + analyzers
Guide
Detectors
Simulation Tools - Options

## Slide 16
Sample + analyzers
Guide
Detectors
Simulation Tools - Options

## Slide 17
  Monte Carlo Particle List
  Binary format
  Open source
  Compatible MC tools
    McStas
    McXtrace
    Geant4
    MCNP6, MCNPX
Source: https://mctools.github.io/mcpl/
T. Kittelmann et al., Monte Carlo Particle Lists: MCPL, Computer Physics Communications 218 (2017) 17-42.
Monte Carlo Simulation: MCPL

## Slide 18
Sample + analyzers
Guide
Detectors
Simulation Tools - Options

## Slide 19
Sample + analyzers
Guide
Detectors
NCrystal
+
+
Simulation Tools - Options

## Slide 20
Source: https://mctools.github.io/ncrystal/
  Library + tools for thermal neutron transport in crystals
  Cross-platform, open source, v1.0.0
  Multiple interfaces (Geant4, McStas, …), validated results
  Collaboration:
    Xiao Xiao Cai (CNCS)
    Thomas Kittelmann (ESS)
  Supported by:
    BrightnESS (No 676548)
X. X. Cai, T. Kittelmann, NCrystal: a library for thermal neutron transport, Computer Physics Communications (2019)
Simulation Tools: NCrystal

## Slide 21
Source: https://mctools.github.io/ncrystal/
  Enables Monte Carlo simulation of neutrons in crystals
  Single-crystals
  Polycrystalline/powder materials
  Anisotropic layered crystals: pyrolytic graphite
  Coherent elastic (Bragg) diffraction
  Includes ”background” (inelastic/incoherent)
    Harmonic approximation
    Incoherent approximation
    Debye approximation
Simulation Tools: NCrystal

## Slide 22
Sample + analyzers
Guide
Detectors
NCrystal
+
+
Simulation Tools - Options

## Slide 23
Sample + analyzers
Guide
Detectors
NCrystal
+
+
Simulation Tools - Options

## Slide 24
Sample + analyzers
Guide
Detectors
NCrystal
+
+
Simulation Tools - Options

## Slide 25
Sample + analyzers
Guide
Detectors
NCrystal
+
+
Simulation Tools - Options

## Slide 26: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 27
ESS Butterfly source
4 choppers, all guide sections
Authors: Rasmus Toft-Petersen Jonas Okkels Birk Martin Olsen
McStas Model – Full Instrument

## Slide 28
MCPL Source (end of guide)
Sample
Transmission monitor
Analysers and monitors
Transmission monitor
Detectors (monitors)
5.0 meV
Detectors
McStas Model – Analyzer-Detector system

## Slide 29
McStas Model – Analyzer-Detector system

## Slide 30
MCPL Source (end of guide)
Sample
Transmission monitor
Analysers and monitors
Transmission monitor
Detectors (monitors)
5.0 meV
Detectors
Geant4 Model – Analyzer-Detector system

## Slide 31: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 32
McStas
Geant4
Change of energy spectrum after sample

## Slide 33
McStas
Geant4
Intensity on detector

## Slide 34
McStas
Geant4
Time averaged incident rate

## Slide 35
McStas
Geant4
Peak instantaneous incident rate

## Slide 36: Conclusion
Parameters:
  Sample: Y2O3 single-crystal, hkl=2,-2,-2 (dhkl = 3.0724 Å) cylindrical h=d=15 mm, mosaicity = 60 arcmin
  Analyzer: thickness = 1 mm, mosaicity = 60 arcmin
  Source power = 5 MW
  PSC opening time = 5 ms (full ESS pulse)
Time averaged incident rate on one He-3 tube: 4e7 Hz
Peak instantaneous incident rate on one tube: 1e9 Hz

## Slide 37
Sample mosaicity matching the analyser mosaicity (60 arcmin) gives the highest incident rates
Effect of sample mosaicity

## Slide 38
Detector rates drop significantly with smaller sample size:
15 mm -> 12 mm (h=d) a factor of 1.4 rate drop
15 mm -> 3 mm (h=d) a factor of 40 rate drop
Effect of sample size

## Slide 39: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 40: Geant4 model with all Q channels

## Slide 41: Ongoing and possible studies
Simulation of calibration sample (vanadium) with full model
Study the effect of PSC opening time on energy resolution and rates
Beryllium filter + radial collimator
Detectors
Cross-talk shielding
Backscattering
Connect to Mantid

## Slide 42: Acknowledgments
Xiao Xiao Cai, Peter Willendrup
Data Management&Software Centre (DMSC)
Thank you for your attention!