## Slide 1
Spin-Dependent Sub-Millimeter Fifth Force Search Using Ferrimagnetic Test Masses
Josh Long
Indiana University, Bloomington
Classification, parameterization
Cooling system
Motivation and existing limits (mass-coupled)
Experiment overview
Projected sensitivity
Polarized test masses; spin density
Notes: I am going to present another tabletop experiment (another IU experiment…) designed to be sensitive to sub-mm range 5th forces.
Does not have the sensitivity of ARIADNE but has greater versatility: sensitive to broader range of interactions
Overview, talk about polarized test masses, and discuss sensitivity

## Slide 2
Spin-spin (“dipole-dipole”)
Spin-mass (“Monopole-dipole”)
J. E. Moody and F. Wilczek, Phys. Rev. D 30, 130 (1984)
Axion-mediated interactions
r
Violates P,T
Yukawa (“Monopole2”)
Notes: In fact it was originally optimized for mass-coupled Yukawa-type interaction
2 test masses A and B
Alpha is strength relative to gravity and lambda is the range
Lambda also the Compton wavelength of the force mediator of mass m_(little a)
Nice generalization of 1/r potentials for the case of massive mediator
Here it is again in terms of this scalar coupling constant which measures the strength relative to the strong interaction.
This is the notation commonly used for spin-dependent interactions. You can have a massive spin-spin interaction or massive spin-mass interaction. The latter of which would violate both parity and time reversal symmetries.
These potentials are of special interest since they could be mediated by the axion, a promising light dark matter candidate.
In the absence of a signal most experiments report their results in terms of limits on the couplings as function of the range.

## Slide 3
Short Range limits – mass coupled
Experimental limits:
Irvine, HUST, Eot-Wash =
torsion pendulum experiments
Stanford, IUPUI = MEMS/AFM-type experiments
Stanford: A. Geraci et al., PRD 78 022002 (2008)
Casimir: Y.-J. Chen et al., PRL 116 221102 (2016)
Eot-Wash: D. Kapner et al., PRL 98 021101 (2007)
HUST: W.-H. Tan et al., PRL 116 131101 (2016)
Irvine: J. Hoskins et al., PRD 32 3084 (1985)
Torsion Osc: JCL et al., Nature 421 922 (2003)
Notes: Here are the experimental limits on spin-independent forces in the sub-mm range.
Lambda ranges from 1cm down to below 1um. Alpha runs from 1E-7 times gravity to 1E10
Experimentally exclude region is above and to the right of the blue curve.
Above 10um the best limits come from torsion pendulum experiments, Below they are set by AFM type experiments. The IU experiment is a hybrid.

## Slide 4
Stanford: A. Geraci et al., PRD 78 022002 (2008)
Casimir: Y.-J. Chen et al., PRL 116 221102 (2016)
Eot-Wash: D. Kapner et al., PRL 98 021101 (2007)
HUST: W.-H. Tan et al., PRL 116 131101 (2016)
Irvine: J. Hoskins et al., PRD 32 3084 (1985)
Theory: S. Dimopoulos, A. Geraci, PRD 68 124021 (2003)
Short Range limits and predictions
Experimental limits:
Theoretical predictions:
Limits still allow forces 1 million times stronger than gravity at 5 microns
Moduli, dilatons: new particles motivated by string models
Vacuum energy: prediction from new field which also keeps cosmological constant small
Irvine, HUST, Eot-Wash =
torsion pendulum experiments
Stanford, IUPUI = MEMS/AFM-type experiments
“Large” extra dimensions
Notes: The fine and dashed lines are theoretical predictions. I will not discuss them except to point out that there is a prediction for the axion for unpolarized test masses, indirect limit from constraints on theta QCD from neutron EDM experiments. 1E4 below current direct limits.

## Slide 5
Indiana short-range experiment
Source and Detector Oscillators
Shield for Background Suppression
~ 5 cm
Planar Geometry - null for 1/r2
Resonant detector with source mass driven on resonance
1 kHz operational frequency - simple, stiff vibration isolation
Stiff conducting shield for background suppression: limits gap to 80 mm
Double-rectangular torsional detector: high Q, low thermal noise
Notes: When we started the Indiana short-range experiment we did not think torsion balance would be the instrument of choice: seismic and room vibrations, mechanical drifts that we though would be exacerbated at short-range.
This is a cartoon
It uses planar geometry to concentrate as much mass as possible at the range of interest
We have a resonant detector with a source mass driven on resonance to maximize the signal
Resonant operation puts heavy burden on vibration isolation
Why we choose a 1 kHz operational frequency since at 1 kHz it is possible to use a stiff, passive vibration isolation system
In the absence of resonant backgrounds the limiting background is thermal noise, which is why the detector has this double rectangle shape since it has a high Q
There is also a stiff conducting shield between the test masses which limited the gap to 80 um

## Slide 6
Central Apparatus
Scale:
1 cm3
detector mass
shield
source mass
PZT bimorph
transducer
amp box
tilt stage
vibration
isolation
stacks
Figure: Bryan Christie (www.bryanchristie.com) for Scientific American (August 2000)
Vibration isolation stacks: Brass disks connected by fine wires; soft springs which attenuate at ~1010 at 1 kHz (reason for using 1 kHz)
Readout: capacitive transducer and lock-in amplifier referenced by source drive frequency
Vacuum system: 10-7 torr
Notes: Cartoon of whole central apparatus, with test masses in same orientation and color scheme
Each element suspended from one of our vibration isolation stacks, which acts as a series of soft springs relative to the 1 kHz operation frequency: kHz vibrations of the source are attenuated by 1E10.
Readout not shown: capacitive probe just above the detector, and a front-end JFET amplifier which ouputs the signal to a lock-in.
Further reduce acoustic background, placed in 75L bell jar and pumped to 1E-7 torr.

## Slide 7
Interaction Region
~1 cm
10 mm stretched Cu membrane shield (shorter ranges possible)
detector mass front rectangle (retracted)
source mass (retracted)
Thinner shield
60 mm thick sapphire plate replaced by 10 mm stretched copper membrane
Compliance ~5x better than needed to suppress estimated electrostatic force
Minimum gap reduced from 105 mm (2003) to 40 mm.

## Slide 8
Central Apparatus
~50 cm
Inverted micrometer stages for full XYZ positioning
Torque rods for micrometer stage control
Vacuum system base plate

## Slide 9
Sensitivity: increase Q and statistics, decrease T
Signal
Force on detector due to Yukawa interaction with source:
Thermal Noise
~ 3 x 10-15 N (for a = 1, l = 50 mm)
~ 3 x 10-15 N (300 K, Q = 5 x104, 1 day average)
~ 7 x 10-17 N (4 K, Q = 5 x105, 1 day average)
sensitivity
10-13 g
Notes: This is our sensitivity to yukawa forces
Model the signal as the yukawa force between flat plates: for our geometry this works out to a few fN for a gravitational-strength Yukawa interaction at 50 um.
Estimate the thermal noise from the mechanical Nyquist formula. This is the mechanical analog of Johnson noise in a resistor where the resistance is replaced by the mechanical damping factor, inversely proportional to the quality factor.
For our test masses this works out to a few fN at room T assuming Qs of about 50k, and 1 day integration time.
A cryo experiment might do better by 2 OOM, not just from the T but the expected improvement in Q.

## Slide 10
Upper: 1 day integration time, 50 micron gap, 300 K
Lower: 1 day integration time, 50 micron gap, 4.2 K, factor 50 Q improvement
Current Limits (2s) and Projected Sensitivity
Present gap ~ 80 microns; need flatter, more level elements

## Slide 11
“Compensated” test mass
e.g., Dy6Fe23
(W.-T. Ni, C. Speake, R. Ritter)
S. Hoedl et al., PRL 106 (2011) 041801
Eot-Wash ALP torsion pendulum
Spin – Dependent experiments (electron)

## Slide 12
Spin-Polarized Test Mass: Ferrimagnet
m1
m2
mTotal
R.C. Ritter, C.E. Goldblum, W.-T. Ni, G.T. Gillies, C.C. Speake, PRD 42 977 (1990)
Notes: To search for spin-dependent 5th forces, need spin-polarized test masses. Polarized sources are magnetic; how control backgrounds?
Trick from Wei-Tou Ni: compensated ferrimagnets
Ferrimagnet has at least 2 magnetic sublattices, anti-aligned, labeled mu1 and mu2 here
Total magnetic moment is upward

## Slide 13
Compensated Ferrimagnet
m1
m2
T0
mTotal
m1
m2
T1 < T0
mTotal
m1
m2
mTotal = 0
TC < T1
R.C. Ritter, C.E. Goldblum, W.-T. Ni, G.T. Gillies, C.C. Speake, PRD 42 977 (1990)
Notes: The temperature dependence of the magnetization of each sublattice is different
So that as I cool the sample, the magnetism of mu2 grows faster
At some magic temperature or compensation temperature the magnetizations are equal and opposite so the total moment vanishes

## Slide 14
m1
m2
T0
mTotal
sTotal
m1
m2
T1 < T0
mTotal
m1
m2
mTotal = 0
TC < T1
Compensated Ferrimagnet
R.C. Ritter, C.E. Goldblum, W.-T. Ni, G.T. Gillies, C.C. Speake, PRD 42 977 (1990)
Notes: Now I take advantage of the fact that in some materials, part of the magnetization is due to orbital motion rather than spin
For example if mu 2 is a rare earth
Which I have illustrated schematically by the black arrows

## Slide 15
m1
m2
T0
mTotal
sTotal
m1
m2
T1 < T0
mTotal
sTotal
m1
m2
mTotal = 0
sTotal
TC < T1
Dy6Fe23, ErFe3, HoFe3, …
Rare Earth Iron Garnets
Compensated Ferrimagnet
R.C. Ritter, C.E. Goldblum, W.-T. Ni, G.T. Gillies, C.C. Speake, PRD 42 977 (1990)
Notes: You can see what happens to the total spin when I reach the compensation temperature. I have a material with spin but no magnetism.

## Slide 16
Dy3Fe5O12 recipe [1]
1. Add H2O to Dy(NO3)3·H2O powder for a 1M solution
2. Combine with 1M H2O and FeCl3·6H2O solution
3. Add drops of base NaOH to precipitate rust colored solid
4. Dry and press into pellet
5. Fire at 900C - color changes to olive green
6. Grind and fire again to increase purity
Dysprosium Iron Garnet
G. Dionne, Magnetic Oxides (N.Y., Springer, 2009)
DyIG powder
[1] M. Gesselbracht, et al., J. Chem. Educ 71 (1994) 696
Dy3Fe5O12
3 mm x 1 mm
DyIG pressed pellets

## Slide 17
Spin density of existing samples
Correction for incomplete magnetization [1]:
_Measured slope_
Calculated slope
= 0.36
ns = 4.0 × 1020/cc (normal)
ns = 4.1 × 1020/cc (in-plane)
[1] R. Ritter et al., PRD 42 (1990) 977
Tc
(units of ħ/cc)
Magnetize to saturation (~ 0.5T)
Ramp field to zero
Sample 1:
Sample 2:
Measure remnant magnetization vs. T (300 K→200 K→300 K)
multiple passes, ~12 hr dwell at Tc: unchanged
Magnetic behavior (Quantum MPMS magnetometer)
Spin density
Result [2]
[2] T. M. Leslie, E. Weisman, R. Khatiwada, JCL, PRD 89 (2014) 114022
Notes: The plot shows the remnant magnetization as a function of temperature.
We magnetize the sample to saturation and turn off the field.
As we lower the T, the magnetization drops to zero, reverses, then recovers to its initial value on warming
This process is repeatable and does not appear to degrade at least for several weeks.
Based on a molecular field calculation we estimate a spin density of about 1E20 per cc

## Slide 18
Radiative Cooling System
Liquid nitrogen-cooled shield inside vacuum bell jar
Finite element model: 223 K reached in ~ 2.5 hr with shield at 77 K
Hold at 223 K compensation T with existing PID controller (± 0.1 K)
Notes: To take full advantage of the low magnetization we need to operate at the compensation T
Plan to cool the experiment radiatively, by surrounding the central apparatus with a conducting shield cooled by liquid nitrogen
An existing PID temperature sensor and heater should be able to keep the mass to within 0.1 K of the compensation temperature.
Shield still in the shop; Plot of T (K) vs time (s) from a detailed finite element model. With a 77K shield the system should reach Tc in about 2 ½ hours.

## Slide 19
Radiative Cooling System
Notes: Keeping the shield at 77K should not be a problem: The shield consists of a new outer vacuum volume, surrounds a liquid nitrogen dewar in which the liquid volume extends all the way down in this narrow space to the vacuum baseplate.
Hoping to show results from the cooldown, but capital purchase rules being what they are…

## Slide 20
Projected sensitivity
Measured garnet spin density = 4×1020 ħ/cc
T. M. Leslie, E. Weisman, R. Khatiwada, JCL, Phys. Rev. D 89 114022 (2014)

## Slide 21
ARIADNE source mass
Tungsten prototype
11 teeth (200 mm protrusions)
wire EDM
Surface magnetic field < 30 pT (PTB lab, Berlin)
Top plate with reflective velocity pattern
under development
Notes: For axion sensitivity, ARIADNE is one approach
Our group has experience with tungsten machining and has prototyped the source mass: we have fabricated a prototype from tungsten via wire EDM and showed it to have magnetic impurities of less than a ppm.
Currently working on a reflective pattern for the top, so a laser can probe the velocity.

## Slide 22
T. M. Leslie, E. Weisman, R. Khatiwada, JCL, Phys. Rev. D 89 114022 (2014)
Rotationally invariant, non-relativistic, single exchange (s=0,1) [1]
[1] B. Dobrescu and I. Mocioiu, J. High Energy Phys. 0611, 005 (2006)
To be updated…[2]
[2] P. Fadeev, et al., Phys. Rev. A 99 022113 (2019)
Notes: In addition to the spin-dependent potentials described by Moody and Wilczek, there are at 13 additional potentials consistent with rotational invariance and single boson exchange.
This is just to show that with suitable arrangement of the spin-polarized samples on our test masses, we have access to all 15 potentials.
These potentials have been updated and we are re-evaluating them

## Slide 23
Projected sensitivity (1020 ħ/cc)
Static spin-spin interactions (V2, V3, V11):
Spin-mass interactions (V4+5, V9+10, V12+13):
Notes: advantage of our approach: versatility
And sensitivity at short range
Here are projected limits on 3 of the spin-spin interactions: essentially unconstrained below a few mm
Projected limits on spin-mass interactions: there are some new limits, but for nucleon couplings

## Slide 24
Conclusions
Dark matter
Dark energy
Unification models with
  extra dimensions
  extended symmetries
  Local Lorentz Violation
Great interest in macroscopic forces with weak couplings to matter
IU High-frequency experiment currently excludes spin-independent forces > 105 times gravitational strength above 10 microns
Cryogenic experiment: gravitational sensitivity at 20 microns possible
Macroscopic mass experiments: ~ 10 square decades of parameter space below 1 cm in past 10 years
Spin-dependent experiments: greater exclusion of parameter space below 1 cm in past 5 years, many new channels identified
Ferrimagnetic test masses operating at compensation T:
very low magnetic backgrounds and sub-mm test mass separations
sensitivity to 15 interactions with polarized electrons (new limits ~ 1 yr…)

## Slide 25
(supplemental slides)

## Slide 26
r
m1
m2
mB
Yukawa Interaction
a = strength relative to gravity
Power Law
m1
m2
m=0
m=0
r0 = experimental scale
set limits on bn for n = 2 - 5
Parameterization

## Slide 27: (old) Limits from 1 mm to 1 light year [1,2]
[1] E. Fischbach and C. Talmadge, The Search for Non-Newtonian Gravity (Springer-Verlag, 1999)
[2] S. Reynaud and M.-T. Jaekel, Int. J. Mod. Phys. A 20 2294 (2005)
Laboratory
Lake
Tower
Earth-LAGEOS
LAGEOS-Lunar
Planetary
(l in m)
LLR

## Slide 28
“Large” Extra Dimensions
Strong, Weak, EM force confined to 3 dimensions
Gravity spreads out into n extra dimensions of size R, appears diluted
Gravity unifies with EW force (M* ~ 1 TeV) if n = 2, R ~ 1 mm
Infinite dimension
compact
dimension
R
n = 3, R ~ 1 nm
N. Arkani-Hamed, S. Dimopoulos, G. Dvali, Phys. Lett. B 429 263 (1998)

## Slide 29
Challenge: scaling and backgrounds
m1, r1
r
m2, r2
r
~ 2r
    r = 100 mm  F ≈ 10-17 N
    r1 = r2 = 20 g/cm3, r = 10 cm  F ≈ 10-5 N
Electrostatic:
Magnetic (contaminant):
Casimir:
e0V 2
r2
FE ~
ħc
r 4
FC ~
FM ~
r 4
Notes: Experimentalist needs to scale all dimensions of experiment to the range desired, otherwise swamped out by large Newtonian force at larger distances.
What happen? (Illustrate schematically)

## Slide 30
Readout: capacitive transducer, differential amplifier
~ 100 nV/√ Hz (includes preamp, lock-in)
Sensitive to ≈ 100 fm thermal oscillations
Interleave on resonance, off resonance runs
Typical session: 8hrs with 50% duty cycle
Haiyang Yan, et al., Class. Quantum Grav. 31 205007 (2014)
Notes: A word about the readout.
We use a capacitive transducer coupled to a differential amplifier.
Described in this reference by Haiyang Yan, our postdoc who is now at the Academy of Engineering Physics, Mianyang
Based on this low-noise op-amp. The noise is 100 nV per root Hz. Not just the op-amp but the entire readout.
Not state-of-the-art but sufficient to resolve the thermal oscillations, which are about 100 femtometers.
Pretty sensitive physics with few $100 equipment (+ few months of postdoc time…)
There are offsets in the electronics but we resolve them by tuning slightly off resonance, so the duty cycle is about 50%.

## Slide 31
Force Measurement Data – March 2012
19 hours on-resonance data collected over 3 days with interleaved diagnostic data
On-resonance: Detector thermal motion and amplifier noise
Off-resonance: amplifier noise
On Resonance
Off Resonance

## Slide 32
Force Measurement Data - Detail
off-resonance
on-resonance
Von – Voff = 0.93 ± 0.74 mV (1s)
Net Signal:
F = 4.0 ± 3.2 fN
Force:

## Slide 33
DyIG spin excess
[1] G. Dionne, J. Appl. Phys. 47 (1976) 4220
3-sublattice molecular field model [1]:
⇒ 73% (3.1mB) due to spin, 27% due to orbital L
M3Dy = 4.2mB/molecule at Tc
M2Fe = 9.6mB, M3Fe = -13.8mB, all spin
(SDy = 5/2, LDy =1.9)