## Slide 1
EPICS Core Developments and Plans Ralph Lange for the EPICS Core Developers
EPICS Collaboration Meeting October 2023

## Slide 2
Outline
Past
  Changes in Base 7.0.7 (September 2022)
Present
  Coming up in the next Base release
Plans
  Changes under review or development
  Future plans and ideas for the IOC
  Long term plans

## Slide 3
Past
Features Released in EPICS 7.0.7

## Slide 4
EPICS Releases since 2021
EPICS 7.0.6 04 July 2021
EPICS 3.15.9 31 August 2021
EPICS 7.0.6.1 06 October 2021
EPICS 7.0.7 07 September 2022

## Slide 5
Changes in EPICS 7.0.7
For a full list, see the Release Notes on epics-controls.org
Made epicsInt8 signed on all architectures — was previously unsigned where char was unsigned (e.g., PowerPC)
Breaking change to db_field_log, affecting IOC channel filters
Builds with newer compilers can auto-detect GNU Readline
aao records now have OMSL and DOL, can copy arrays between records
IOC’s CA server exports RSRV_SERVER_PORT (TCP port number)
Output record types now support RAW Simulation mode (convert VAL to RVAL, write it through SIOL)
Coloured many IOC warning & error messages, except when logged

## Slide 6
More Changes in EPICS 7.0.7
Accept hex and octal values in hardware links (leading 0 ⇒ octal)
Fixed time synchronization issues on VxWorks 6.9
Build system updates to stop a top-level make uninstall from triggering the clean target; setting INSTALL_LOCATION works again
pvAccessCPP: bug fixes (enum) and performance improvements
pva2pva: access security hooks; timestamp.userTag from UTAG field

## Slide 7
Present
Features Merged but not yet Released

## Slide 8
Changes Already on the 7.0 Branch
pva2pva: fix for dbLoadGroup (broken in 7.0.7)
Calc expressions may use the new function FMOD(NUM,DEN)
iocShell built with Readline supports tab-completion of commands, filenames, record names, var names and pdbbase
MacOS builds will detect and use GNU Readline from Homebrew or MacPorts if it’s available; Apple’s libedit can’t do tab-completion
Menu fields can hold a value that is not a valid choice. Fetching one as a string now returns the numeric value as a string instead of an error
The capr.pl script has improved significantly since 7.0.6.1
The new OOPT field in the longout record controls whether the output value gets written to device support, similar to the calcout record

## Slide 9
Changes on the 7.0 Branch from the Codeathon
Many PRs from the Codeathon at Diamond in March have been merged:
Setting the new compress record PBUF field to YES enables partially filled buffers to be processed with the N-to-1 algorithms
A subroutine record with an invalid INP* link no longer fails silently
Many C & C++ compiler and UBSan warnings have been cleaned up
The code now has a .editorconfig file, format checked by CI builds
The “ts” server-side filter can now fetch a record’s timestamp with a choice of formats. The updated filter documentation has details
A new dbCreateAlias iocShell command allows record aliases to be defined (before iocInit) without loading a separate .db file
More detail and better-formatted iocShell “help” command output

## Slide 10
More Changes on the 7.0 Branch from the Codeathon
Environment variable EPICS_CLI_TIMEOUT to set default timeout for catools (caget etc.)
Generate error on any attempt to alias a record.field
Unit tests created for standard record types (ai, bi, bo, printf)
Add CI cross-build tests for aarch64 and linux-arm (BE and LE) targets
More Doxygen annotations for header files in libCom and ca
New EPICS_PRINTF_FMT(format_string) annotation macro to let Microsoft compilers check printf-like declarations
Support modules may call errSymbolAdd() after early initialization
Fix timestamps on array-record NORD field updates
Additional work on the RTEMS target code, including RTEMS-6

## Slide 11
Next Release
Next minor release of EPICS Base C++ (7.0.8) is scheduled for November 2023

## Slide 12
Future
What next?

## Slide 13
Under Review or Development
Server-side filter to read record info() item strings
Explicit INT and EXT link modifiers to help detect typos in PV names
  INT means link target must be local to the IOC (EXT overrides)
  Additional DB-file syntax can set default to one of these
Add OOPT to more output record types (only write “On Change” etc.)
Link type that can do file I/O
History file (bash-like) for iocShell
Make the next generation user-level API library PVXS part of Base
Rebase QSRV (the IOC PVA server) on top of PVXS

## Slide 14
Future Plans and Ideas for the IOC
Features being considered:
  Server-side filtering of put operations (semantics tricky)
  How to support complex structures as database fields
  JSON link addresses for device support
Move PVA link support into Base

## Slide 15
Long Term Plans
Next major release – EPICS 7.1
  No specific timetable for this yet
  Will require C99 and C++11 compilers (GCC 4.8.1)
    No support for VxWorks 6.x or RTEMS 4.x
IPv6 is supported by the next-gen PVA libraries (PVXS, core-pva) Should Channel Access also get it??

## Slide 16
Thank You for Your Attention!
Comments or Questions?