## Slide 1: TDM, a display manager based on web technologies
Hao Hao
Oak Ridge National Laboratory
September 18, 2024

## Slide 2: Why web technologies?
Web technologies have been developed for more than 3 decades
  One of the most widely used technical stack
  Realize protocols, data transmission, user interface, database, security ...
  Provide solutions for servers and clients
  A variety of development frameworks
    Frontend: React, Vue, Angular, Svelte, ...
    Backend: Express, Django, Ruy on Rails, ...
    Full stack: Next, ASP.net, Spring, ...
  It’s also used on desktop software
    webview, tauri, NW.js, electron.js, Flutter, React Native, ...

## Slide 3: Technical choices of TDM
It is primarily a desktop software, not simply a webpage or website
Programming language: Node.js. Cross-platform, high efficiency, widely supported, asynchronous, support for web technologies, transpiled to webpage JavaScript.
GUI framework: electron.js. Based on Chromium, cross-platform, works well with Node.js, HTML, and CSS, mutli-thread, server-client model.
GUI interface: React.js. High efficiency to control element lifecycle, JSX syntax to handle layout.

## Slide 4: TDM architecture
Main process: communication with IOCs,
managing windows and PVs, read/write files, ...
CA client: epics-tca
electron.js natively has a good IPC library, Why websocket? Realtime and two-way communication, expansion for future use.
Why not run epics-tca on renderer process? For efficient PV management, future expansion.
Renderer process
(html page)
Renderer process
(html page)
Renderer process
(html page)
network
WebSocket
IOC
IOC
CA client
Main process
WebSocket server
electron.js

## Slide 5: Install and start
Technically any platform that can install Chromium would run TDM: Linux, MacOS, Windows; x86_64, arm.
Download from https://github.com/diverhao/tdm/releases/tag/v2408
Packaged with a modified node.js executable.
Double click to open the application.

## Slide 6: Main window and profile
Profile: a collection of information
  EPICS environment variables (EPICS_CA_ADDR_LIST, TMO, ...)
  Default search paths, opened files, ...
  Other developer-defined variables
User can define multiple profiles. Each profile is independent to each other.
  Save the effort of manually providing configuration file to TDM instance.
Profile editor: GUI interface that can fully edit the profile
All profiles are stored in one file $(HOME)/.tdm/profiles.json

## Slide 7: Display interface
Editing mode vs operating mode
All operations on a display window are integrated in the right click context menu

## Slide 8: Create a widget (Text Update)

## Slide 9: Create a widget (XY Plot)

## Slide 10: Control a PV (Text Entry)

## Slide 11: Responsive editing

## Slide 12: Widgets
A variety of widgets are provided for monitor and controlling.

## Slide 13: Tools

## Slide 14: Advanced features
Rules
  when a condition is true, the widget’s appearance becomes something
  when the PV is an even number, the widget’s background becomes red
Virtual PV
  loc://
  glb://

## Slide 15: Advanced features
Scripts
  Attached to the display
  Python or node.js (JavaScript)
  Runs in separate thread
  Python requres:
  Post-process data in frontend

## Slide 16: EDM compatibility
TDM can directly open .edl files (with an on-the-fly conversion)
TDM provides a converter that converts multiple .edl files to .tdl
  Converting 3800 edl files takes about 20 minutes
EDM
TDM

## Slide 17: Revisit TDM architecture
Renderer process
(html page)
Renderer process
(html page)
Renderer process
(html page)
network
WebSocket
IOC
IOC
CA client
Main process
Web Socket server
electron.js

## Slide 18: SSH mode
network
SSH tunnel
IOC
IOC
CA client
Main process
computer A
computer B
SSH server
TCP server
Renderer process
(html page)
Renderer process
(html page)
Renderer process
(html page)
WebSocket
TCP client
Main process
Web Socket server
network
computer B
SSH client

## Slide 19: SSH mode
Configure the server
  Install TDM, e.g. to /Applications/TDM.app
Configure the client
  password-less ssh login
  install TDM
  /Applications/TDM.app/Contents/MacOS/TDM --main-process-mode ssh-server
  The server runs the above command automatically

## Slide 20: SSH mode – new animation

## Slide 21: Revisit SSH mode architecture
network
SSH tunnel
IOC
IOC
CA client
Main process
computer A
computer B
SSH server
TCP server
Renderer process
(html page)
Renderer process
(html page)
Renderer process
(html page)
WebSocket
TCP client
Main process
Web Socket server
network
computer B
SSH client

## Slide 22: A website
network
WebSocket
IOC
IOC
CA client
Main process
Web Socket server
electron.js
Renderer process
(html page)
Renderer process
(html page)
Renderer process
(html page)
network
Web server
Web Browser
Start the server
/Applications/TDM.app/Contents/MacOS/TDM --main-process-mode web

## Slide 23: A webpage

## Slide 24: A webpage

## Slide 25: Optimization
Speed up the startup
  Create a blank electron.js renderer process takes about 300 ms. Create a hidden standby window.
  WebPack packages all node.js files into one file, saves 200 ms.
Reduce runtime CPU usage
  In most situations, EPICS itself is not a CPU, memory, or network intensive application.
  Rendering an element on webpage is expensive. React.js minimizes the rendering cost.
  Chromium has a great tool to profile, analyze, and improve efficiency.

## Slide 26: Performance
Open a display that has 1579 widgets costs about 1 s on Macbook pro M1.
A window with 223 widgets costs about 0.5 s.
uncompressed memory

## Slide 27: Summary
TDM demonstrates that it is feasible to use web technologies for an EPICS display manager.
Loads of bugs need to be fixed, not ready for production.
New features need to be implemented.
Future technologies?

## Slide 28
Thanks!