## Slide 1: The Suite of SANS Instruments at ORNL
William T. Heller, Ph.D.
SANS & Spin Echo Group Leader
February 9, 2026

## Slide 2: The SANS Suite of Instruments
The SANS & Spin Echo Group is home to three SANS instruments
  GP-SANS at HFIR
    Lisa Debeer-Schmitt, Lilin He, Karin Bichler (joined 2024) and Arina Rostopchina (joined 2025)
  EQ-SANS at SNS
    Changwoo Do, Gergely Nagy (joined 2020), Carrie Gao and William Heller (GL)
  USANS at SNS
    Wei-Ren Chen, Gernot Rother (joined 2024) and Carrie Gao
  Yingrui Shang is the computational instrument scientist for SANS (joined 2021)

## Slide 3: Scientific Productivity
ILL is the often considered to be the gold standard
ANSTO is a 20 MW LEU-fueled reactor
NCNR did not run significantly during this review period
  Their fuel issue took place on February 3, 2021, which is about 1 year into the COVID-19 pandemic.
Considered D11, D22, D33, Bilby and Quokka
Considered Kookaburra
  The NCNR BT5 USANS will no longer be available

## Slide 4: Scientific Productivity
  Peer-reviewed publications only
  The D11 web page has a note that the primary guide and collimation system were upgraded, which may explain the lower publication numbers
 | EQ-SANS | GP-SANS | D11 | D22 | D33 | Bilby | Quokka |  |  | TOF-USANS | Kookaburra
2020 | 30 | 24 | 49 | 23 | 26 | 21 | 29 |  | 2020 | 5 | 6
2021 | 24 | 17 | 46 | 37 | 18 | 18 | 39 |  | 2021 | 4 | 11
2022 | 26 | 14 | 36 | 34 | 19 | 8 | 25 |  | 2022 | 4 | 12
2023 | 32 | 19 | 37 | 33 | 17 | 21 | 31 |  | 2023 | 6 | 23
2024 | 23 | 23 | 21 | 39 | 13 | 20 | 34 |  | 2024 | 4 | 12
2025 | 22 | 26 | 11 | 31 | 19 | 20 | 24 |  | 2025 | 2 | 11

## Slide 5: Strength of the User Community
The user communities of the SANS are diverse
Research areas overlap, but is it competition?
  Perhaps, but GP-SANS and EQ-SANS have their own user base
  USANS is strictly complementary

## Slide 6: Strength of the User Community
The SANS instruments are over-subscribed

## Slide 7: Strength of the User Community
The USANS instrument is over-subscribed

## Slide 8: Expectations for Future Demand
SANS is a widely-applicable technique that can be applied to problems in many fields of research
  Chemistry, Physics, Materials Science, Structural Biology, etc.
Neutrons still provide unique information
  Contrast variation methods and isotopic labeling
  No radiation damage
  Excellent penetration power through robust sample environments that can recreate real world conditions

## Slide 9: Expectations for Future Demand
There has always been some variability in the oversubscription rate for SANS instruments, but demand remains strong
There is more interest in in situ studies
  The ORNL facilities provide the high flux needed for such work
  More investment is required
Improvements in automation and remote experiments can make SANS more accessible to more researchers
  Make things easier for novices
  Reduce costs of experiments
  More investment is required

## Slide 10: Expectations for Future Demand
USANS is a niche technique
  The data is complementary to SANS data and generally requires it
    ORNL has addressed this issue by allowing USANS users to request “complementary” SANS time when submitting a USANS proposal
  The sample requirements are more stringent than for SANS
  USANS is very flux-limited
  There are some communities that benefit from access to USANS
    Geology and metallurgy are two examples
      Outreach is required to grow the user community

## Slide 11: The Case for Future SANS Instruments
When SANS instruments are unavailable to users for extended periods of time, the community suffers from insufficient access
The oversubscription rates of the SANS at ORNL are healthy
  One could argue that they are too high at times
HBRR and PVR will make the HFIR SANS unavailable for extended periods of time
NIST is not running yet
  Expected to return to operations for science later this year

## Slide 12: The Case for Future SANS Instruments
Of course we could use more SANS instruments at ORNL
  It seems very likely that one or two more SANS could be built and all would remain busy
  The user community remains hampered by lack of access to beamtime
    If NIST does not come back to full user operations, the user community will have had such limited access for so long that many researchers will move on
  A new instrument should provide capacity, but it is important to explore new capabilities

## Slide 13: The Case for Future SANS Instruments
Add a 3rd traditional SANS at HFIR
  There is no space for an additional guide to provide the flux needed for a world-class SANS instrument
    For long wavelengths (≥ 8 Å), the guide currently being considered for an NSE would have a higher flux than EQ-SANS
    The uses for a “long wavelength” SANS may be a little limited
  There may be limited impact on demand for GP-SANS and Bio-SANS
  EQ-SANS would likely have a lower subscription rate
    It is a TOF-SANS instrument
    The chopper upgrade will address this issue, but the flux will always be lower than GP-SANS, Bio-SANS and a 3rd HFIR long wavelength SANS.

## Slide 14: The Case for Future SANS Instruments
Building SANS instruments at STS
  There may be limited impact on demand for GP-SANS and Bio-SANS
    The flux provided by STS will be lower than that provided by HFIR but better than FTS
    If the design must use broad bandwidth TOF methods, many users will still prefer to use GP-SANS and Bio-SANS
      This is based on experience at EQ-SANS, which still has a healthy community thanks to Changwoo’s and Gergely’s efforts
  EQ-SANS would likely have a lower subscription rate
    It could still have a role as a mail-in instrument that is also available for rapid access if there is one STS SANS
    If there are two STS SANS instruments, it may be more cost-effective to shut down EQ-SANS and move staff to the STS or HFIR

## Slide 15: The Case for Future SANS Instruments
What about another SANS at FTS?
  Another SANS at FTS could be built before SANS at STS
    BL-14A, which does place some constraints on the design
  It could be finished about the time of HBRR
    If you start, almost literally, today
  A simpler, less expensive, but still highly versatile, design could be considered
  Design with automation in mind

## Slide 16: The Future of USANS
It is not easy to justify construction of a second USANS
  Not a large user community because it is a very niche technique
Moving the existing instrument to a new location has been considered
  HFIR’s Cold Guide Hall
  The performance of the instrument would improve

## Slide 17: SWOT Analysis - SANS
All: Limited SANS beamtime in US; more users with less expertise: rely on IS for publications; travel restrictions, reduced science funding limits user community & future staff training
GP: HFIR outages → loss of users; resource competition (HBRR, STS)
EQ: High-flux competitors (ESS, ISIS, J-PARC, ILL) for time-resolved and complex experiments;
STS-SANS may question EQ-SANS future
GP: high flux wide Q-range, broad science portfolio; emerging polarization, magnetic tomograpjy; automation; SEs; adequate staffing
EQ: Best dQ/Q and high flux in mid to high Q; t-resolved; SE growth in soft matter; Early AI for experiment, data collection
Strengths
GP: limited detector coverage; need more SE & DAQ support; data analysis & modeling & live I vs Q; Materials Engineering expertise of instrument scientists
EQ: Low-Q performance; limited detector coverage; TOF hampered by inelastic scattering; no polarization; limited SE space and accessibility
Weaknesses
All: AI for DAQ, reduction, analysis;
GP: increase detector coverage; full polarization; magnetic tomography; integrate GrASP (ILL software) visualization in SASView; enhance robot;
EQ: increase detector coverage; more flux (PPU); grow mail-in; improve robotic sample changer; new choppers for monochromatic beam definition
Opportunities
Threats

## Slide 18: SWOT Analysis - USANS
Only operational USANS in America/Europe; Ultra-high Q resolution (low Q); excellent sample environments; strong community impact; complementary to HFIR/SNS SANS
Strengths
Low neutron flux on sample: long measurements and few experiments/cycle; limited space for bulky SE (magnets etc); need samples that strongly scatter
Weaknesses
Growing demand for multiscale characterization; more routinely run SANS first to increase experiment success rate; more routinely use larger samples to increase counts
Opportunities
Replacement options for monochromator & analyzer crystals unclear; emerging alternative characterization methods (microscopies, USAXS, etc) could take some business away
Threats